# Regulatory Pathways Quick Guide

This guide summarizes the main regulatory pathways for MedTech devices and pharmaceuticals, with timelines, costs, and risks.

## Medical Devices

| Pathway | Description | Typical Timeline | Risk/Cost |
| --- | --- | --- | --- |
| 510(k) | Demonstrate substantial equivalence to existing device | 6–12 months | Low–moderate cost, moderate risk |
| De Novo | For novel low–moderate risk devices, no predicate | 12–18 months | Moderate cost, moderate risk |
| PMA | Premarket approval, highest bar for Class III devices | 2–5 years | High cost, high risk |

## Pharmaceuticals

| Phase | Goal | Timeline | Risk/Cost |
| --- | --- | --- | --- |
| Phase I | Safety, dosage | 1–2 years | High risk, expensive |
| Phase II | Efficacy, side effects | 2–3 years | High risk, expensive |
| Phase III | Confirm efficacy, monitor adverse reactions | 3–5 years | Very high cost, large trials |
| Phase IV | Post-marketing surveillance | Ongoing | Variable cost, monitors long-term safety |